FIRE RISK ASSESSMENT

GRMS 2167.01a • Hybrid AHP-Fuzzy Logic

Document Reference: GRMS 2167.01a

Generated: 16 April 2026

PART A: RISK ASSESSMENT DETAILS

Document Owner: _________________    Revision: ___    Date: _______________

| Employer / Person having control of premises: |  |
| --- | --- |
| Address of premises: |  |
| Person(s) consulted: |  |
| Assessor: |  |
| Date of fire risk assessment: |  |
| Date of previous fire risk assessment: |  |
| Suggested date for review*: |  |

* This fire risk assessment should be reviewed by a competent person by the date indicated.

PART B: GENERAL INFORMATION

Section 1: The Premises

| 1.1 Number of Floors: |  |
| --- | --- |
| 1.2 Approximate Floor Area (m²): | Gross: ______ Usable: ______ Ground Floor: ______ |
| 1.3 Brief details of construction: |  |
| 1.4 Use of Premises: |  |

Section 2: The Occupants

| 2.1 Approximate maximum number of occupants: |  |
| --- | --- |
| 2.2 Approximate number of employees at any one time: |  |
| 2.3 Maximum number of public at any one time: |  |
| 2.4 Associated times/hours of occupation: |  |

Section 3: Occupants Especially At Risk

| 3.1 Sleeping occupants: |  |
| --- | --- |
| 3.2 Disabled occupants: |  |
| 3.3 Occupants in remote areas / lone workers: |  |
| 3.4 Young workers: |  |
| 3.5 Others: |  |

Section 4: Previous Fires

| Date 1: | Building/Details: |
| --- | --- |
| Date 2: | Building/Details: |
| Date 3: | Building/Details: |

Section 5: Other Relevant Information

Section 6: Legislation

| 6.1 Fire safety legislation applicable: |  |
| --- | --- |
| 6.2 The above legislation is enforced by: |  |
| 6.3 Other legislation with fire precautions: |  |
| 6.4 Enforced by: |  |
| 6.5 Additional comments: |  |

PART C: FIRE HAZARDS AND THEIR ELIMINATION OR CONTROL

Section 1: Electrical Sources of Ignition

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 1.1. Have reasonable measures been taken to prevent electrical fires? | ☐ | ☐ | ☐ |
| 1.2a. Fixed electrical installations periodically inspected and tested? | ☐ | ☐ | ☐ |
| 1.2b. Portable appliance testing carried out? | ☐ | ☐ | ☐ |
| 1.2c. Suitable policy regarding the use of personal electrical appliances? | ☐ | ☐ | ☐ |
| 1.2d. Suitable limitation of trailing leads and adapters? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 2: Smoking

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 2.1. Have reasonable measures been taken to prevent fires as a result of smoking? | ☐ | ☐ | ☐ |
| 2.2a. Smoking prohibited on the premises? | ☐ | ☐ | ☐ |
| 2.2b. Smoking allowed only in designated areas? | ☐ | ☐ | ☐ |
| 2.2c. Any evidence of breaches of smoking policy at time of inspection? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 3: Willful Fire Raising

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 3.1. Is there provision of basic security against willful fire raising by outsiders? | ☐ | ☐ | ☐ |
| 3.2. Is there an absence of unnecessary fire load in close proximity to the premises? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 4: Portable Heaters & Heating Installations

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 4.1. Is the use of portable heaters avoided as far as practicable? | ☐ | ☐ | ☐ |
| 4.2a. Is the use of more hazardous heater types avoided (radiant bar fires, LPG)? | ☐ | ☐ | ☐ |
| 4.2b. Are suitable measures taken to minimize ignition of combustible materials? | ☐ | ☐ | ☐ |
| 4.3. Are fixed heating installations subject to regular maintenance? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 5: Cooking

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 5.1. Have reasonable measures been taken to prevent fires as a result of cooking? | ☐ | ☐ | ☐ |
| 5.2a. Filters changed and ductwork cleaned regularly? | ☐ | ☐ | ☐ |
| 5.2b. Suitable extinguishing appliances available in cooking area? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 6: Lightning

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 6.1. Does the premises have a lightning protection system? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 7: Housekeeping

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 7.1. Is the standard of housekeeping adequate? | ☐ | ☐ | ☐ |
| 7.2a. Combustible materials appear to be separated from ignition sources? | ☐ | ☐ | ☐ |
| 7.2b. Avoidance of unnecessary accumulation of combustible materials or waste? | ☐ | ☐ | ☐ |
| 7.2c. Appropriate storage of hazardous materials where applicable? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 8: Hazards from Outside Contractors & Building Works

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 8.1. Are fire safety conditions communicated to outside contractors? | ☐ | ☐ | ☐ |
| 8.2. Is there satisfactory control over works by outside contractors (incl. hot work permits)? | ☐ | ☐ | ☐ |
| 8.3. Are suitable precautions taken during hot work by in-house personnel? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 9: Dangerous Substances

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 9.1. Are general fire precautions adequate to address dangerous substance hazards? | ☐ | ☐ | ☐ |
| 9.2. Has a specific risk assessment been carried out as required by DSEAR 2002? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 10: Other Significant Fire Hazards

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 10.1. Are all other significant fire hazards identified and controlled? | ☐ | ☐ | ☐ |

Comments and hazards observed:

PART D: FIRE PROTECTION MEASURES

Section 1: Means of Escape from Fire

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 1.1. Premises provided with reasonable means of escape in case of fire? | ☐ | ☐ | ☐ |
| 1.2a. Adequate design of escape routes? | ☐ | ☐ | ☐ |
| 1.2b. Adequate provision of exits? | ☐ | ☐ | ☐ |
| 1.2c. Exits easily and immediately openable where necessary? | ☐ | ☐ | ☐ |
| 1.2d. Fire exits open in direction of escape where necessary? | ☐ | ☐ | ☐ |
| 1.2e. Avoidance of sliding or revolving doors as fire exits? | ☐ | ☐ | ☐ |
| 1.2f. Satisfactory means for securing exits? | ☐ | ☐ | ☐ |
| 1.2g. Reasonable travel distances — single direction of travel? | ☐ | ☐ | ☐ |
| 1.2h. Reasonable travel distances — alternative means of escape? | ☐ | ☐ | ☐ |
| 1.2i. Suitable protection of escape routes? | ☐ | ☐ | ☐ |
| 1.2j. Escape routes unobstructed? | ☐ | ☐ | ☐ |
| 1.3. Reasonable arrangements for means of escape for disabled people? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 2: Measures to Limit Fire Spread and Development

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 2.1. Is there compartmentation of a reasonable standard? | ☐ | ☐ | ☐ |
| 2.2. Limitation of building materials that might promote fire spread? | ☐ | ☐ | ☐ |
| 2.3. Are fire dampers provided to protect critical means of escape? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 3: Emergency Escape Lighting

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 3.1. A reasonable standard of emergency escape lighting is provided? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 4: Fire Safety Signs and Notices

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 4.1. A reasonable standard of fire safety signs and notices are in place? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 5: Means of Giving Warning in the Event of Fire

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 5.1. A reasonable manually operated electrical fire alarm system is in place? | ☐ | ☐ | ☐ |
| 5.2. Automatic fire detection provided? | ☐ | ☐ | ☐ |
| 5.3. Extent of automatic fire detection appropriate for the occupancy and fire risk? | ☐ | ☐ | ☐ |
| 5.4. Remote transmission of alarm signals? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 6: Manual Fire Extinguishing Appliances

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 6.1. Reasonable provision of portable fire extinguishers? | ☐ | ☐ | ☐ |
| 6.2. Hose reels provided? | ☐ | ☐ | ☐ |
| 6.3. Are all fire extinguishing appliances readily accessible? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 7: Automatic Fire Extinguishing Systems

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 7.1. Is an automatic fire extinguishing system installed and maintained? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 8: Other Relevant Fixed Systems and Equipment

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 8.1. Suitable provision of fire-fighters switches for high voltage luminous tube signs? | ☐ | ☐ | ☐ |

Comments and hazards observed:

PART E: MANAGEMENT OF FIRE SAFETY

Section 1: Procedures and Arrangements

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 1.1. Is there a suitable record of the fire safety arrangements? | ☐ | ☐ | ☐ |
| 1.2. Appropriate fire procedures in place? | ☐ | ☐ | ☐ |
| 1.3. Procedures in the event of fire appropriate and properly documented? | ☐ | ☐ | ☐ |
| 1.4. Suitable arrangements for summoning the fire and rescue service? | ☐ | ☐ | ☐ |
| 1.5. Suitable arrangements to meet the fire service on arrival with relevant info? | ☐ | ☐ | ☐ |
| 1.6. Suitable arrangements for ensuring the premises have been evacuated? | ☐ | ☐ | ☐ |
| 1.7. Is there a suitable fire assembly point? | ☐ | ☐ | ☐ |
| 1.8. Adequate procedures for evacuation of disabled people? | ☐ | ☐ | ☐ |
| 1.9. Persons nominated and trained to use fire extinguishing appliances? | ☐ | ☐ | ☐ |
| 1.10. Persons nominated and trained to assist with evacuation? | ☐ | ☐ | ☐ |
| 1.11. Appropriate liaison with fire and rescue service? | ☐ | ☐ | ☐ |
| 1.12. Routine in-house inspections of fire precautions? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 2: Training and Drills

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 2.1. All staff given adequate fire safety instruction on induction? | ☐ | ☐ | ☐ |
| 2.2. All staff given adequate periodic refresher training? | ☐ | ☐ | ☐ |
| 2.3a. Training covers: Fire risks in the premises? | ☐ | ☐ | ☐ |
| 2.3b. Training covers: Fire safety measures on the premises? | ☐ | ☐ | ☐ |
| 2.3c. Training covers: Action in the event of fire? | ☐ | ☐ | ☐ |
| 2.3d. Training covers: Location and use of fire extinguishers? | ☐ | ☐ | ☐ |
| 2.4. Staff with special responsibilities (fire wardens) given additional training? | ☐ | ☐ | ☐ |
| 2.5. Fire drills carried out at appropriate intervals? | ☐ | ☐ | ☐ |
| 2.6. Employees of another employer given appropriate fire safety information? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 3: Testing and Maintenance

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 3.1. Adequate maintenance of premises? | ☐ | ☐ | ☐ |
| 3.2. Weekly testing and periodic servicing of fire detection and alarm system? | ☐ | ☐ | ☐ |
| 3.3. Monthly and annual testing of emergency escape lighting? | ☐ | ☐ | ☐ |
| 3.4. Annual maintenance of fire extinguishing appliances? | ☐ | ☐ | ☐ |
| 3.5. Periodic inspection of external escape staircases and gangways? | ☐ | ☐ | ☐ |
| 3.6. Six-monthly inspection and annual testing of rising mains? | ☐ | ☐ | ☐ |
| 3.7. Weekly, monthly, six-monthly inspection and annual testing of fire-fighting lifts? | ☐ | ☐ | ☐ |
| 3.8. Weekly testing and periodic inspection of sprinkler installations? | ☐ | ☐ | ☐ |
| 3.9. Routine checks of final exit doors and/or security fastenings? | ☐ | ☐ | ☐ |
| 3.10. Annual inspection and test of lightning protection system? | ☐ | ☐ | ☐ |
| 3.11. Systems in place for reporting and restoring safety measures below standard? | ☐ | ☐ | ☐ |

Comments and hazards observed:

Section 4: Records

| Question | N/A | Yes | No |
| --- | --- | --- | --- |
| 4.1a. Appropriate records of fire drills maintained? | ☐ | ☐ | ☐ |
| 4.1b. Appropriate records of fire training maintained? | ☐ | ☐ | ☐ |
| 4.1c. Appropriate records of fire alarm tests maintained? | ☐ | ☐ | ☐ |
| 4.1d. Appropriate records of emergency escape lighting tests maintained? | ☐ | ☐ | ☐ |
| 4.1e. Appropriate records of maintenance and testing of fire protection systems? | ☐ | ☐ | ☐ |

Comments and hazards observed:

PART F: FIRE RISK ASSESSMENT

Fire Risk Level Estimator Matrix

| Likelihood \ Consequence | Slight Harm | Moderate Harm | Extreme Harm |
| --- | --- | --- | --- |
| Low | Trivial risk | Tolerable risk | Moderate risk |
| Medium | Tolerable risk | Moderate risk | Substantial risk |
| High | Moderate risk | Substantial risk | Intolerable risk |

Section 1: Assessment of Hazard from Fire (Likelihood)

Taking into account the fire prevention measures observed, the hazard from fire is:

| ☐ Low | ☐ Medium | ☐ High |
| --- | --- | --- |

Section 2: Consequences for Life Safety

Taking into account the nature of the premises and occupants, the consequences for life safety are:

| ☐ Slight Harm | ☐ Moderate Harm | ☐ Extreme Harm |
| --- | --- | --- |

Section 3: Risk to Life from Fire

| ☐ Trivial | ☐ Tolerable | ☐ Moderate | ☐ Substantial | ☐ Intolerable |
| --- | --- | --- | --- | --- |

Comments:

Section 4: Action and Timescale

| Risk Level | Action and Timescale |
| --- | --- |
| Trivial | No action required. No detailed records need be kept. |
| Tolerable | No major additional fire precautions required. Minor improvements may involve limited cost. |
| Moderate | Efforts must be made to reduce risk within a defined time period. |
| Substantial | Considerable resources must be allocated. Urgent action if premises are occupied. |
| Intolerable | Premises should not be occupied until the risk is reduced. |

PART G: ACTION PLAN

Recommendations should be implemented to reduce/maintain fire risk to:

| ☐ Trivial | ☐ Tolerable |
| --- | --- |

| Area | Action No. | Action | Priority | By Whom | By When |
| --- | --- | --- | --- | --- | --- |
| Fire Hazards | FH 001 |  |  |  |  |
|  | FH 002 |  |  |  |  |
|  | FH 003 |  |  |  |  |
| Fire Protection Measures | PM 001 |  |  |  |  |
|  | PM 002 |  |  |  |  |
|  | PM 003 |  |  |  |  |
| Management of Fire Safety | FS 001 |  |  |  |  |
|  | FS 002 |  |  |  |  |
|  | FS 003 |  |  |  |  |

SIGNATURES

| Assessor/Author: | Signature: _______________________ Date: _______________ |
| --- | --- |
| GM/Director: | Signature: _______________________ Date: _______________ |